**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***

**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***

**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***

**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***

**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***

**SPRINKLERS CONTAINED IN THIS CABINET**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sprinkler ID# (SIN)** | **Description** | **Kfactor** | **Temperature Rating** | **Quantity in this box** |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531  | QR Pendent RFII CONCEALED  |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

***Spare cover plates are also to be included, refer to specs for quantity of cover plates.***