If an accelerator is fitted, a TANK mounted Compressor is required.  It must have its OWN AMD on the tank, in addition to the 757. This Compressor must be mounted on Vibration Isolation Pads: General Air KVP4x4.

| As seen at FF&FAB 757 AMD Trim assembly. Low Press Actuator. 776-LPA 746-LPA LP Accelerator is not shown |  |  |
| --- | --- | --- |
| I believe the 757 should be set to 13 psi |  | General Air KVP4x4 Vibration Isolation. |
| Below is not for GENERAL copy it was refering to another job. |  |  |
|  |  | Flwx Pipe that is supplied with the GenAir Compressor, is required between HARD pipe and the Tank. P3002MP 30” or P1202MP 12” Stainless Flex-Hose |