## Cover Sheet
Fire Suppression Services
PROJECT : | Cytozyme |  |  | UPRIGHT: | 12
CITY : | South Salt Lake City |  |  | PENDENT: | 56
CONTR. : |  |  |  | SQ. FT.: | 58500
ESTIMATOR: | Heath Dangerfield |  |  | SYSTEM TYPE: | Wet
DATE : | 2013-03-05 |  |  | SQ. FT./HD.: | 860.29
JOB # : | ESTIMATE |  |  | TOTAL HDS.: | 68
INSIDE MATERIAL IMPORT
| PIPE | 751 |  | MATERIAL COST
| FITTINGS | 728
| HANGERS | 204 |  | Pipe/Head: | 11.04
| VALVES | 79 |  | Fitting/Head: | 10.71
| F.D.C. | 0 |  | Hanger/Head: | 3
| DEVICES | 1974
| MISCELLANEIOUS | 0 |  | Material/Head: | 65.43
| FIRE PUMPS/SPEC MAT | 0 |  | Material/Sq.Ft.: | 0.08
| CPVC MATERIALS | 0
| AIR COMPRESSORS | 0 |  | ESCALATION RATE | 10%
| ESCALATION | 374
| TOTAL INSIDE MATERIAL | 4449 | (M) | Use Tax Rate: | 8.25%
|  |  |  | Mat&Fab/Hd: | 76.32
INSIDE LABOR
| SHOP LABOR | 741 | (M) | LABOR COST
| CONSTRUCTION LABOR | 5040 | (L)
| DESIGN LABOR | 0 | (L) | Shop Cost/Head : | 10.9
| DESIGN EXPENSE | 0 | (D)
| SUB-TOTAL | 5781 |  | Labor/Head: | 74.12
|  |  |  | Labor Rate/Hr.: | 25
|  |  |  | Man Hours/Head: | 2.97
| SUB-TOTAL INSIDE LABOR | 5781 |  | Tot. Man Hours: | 202
| LABOR BURDEN (Design/Field) | 1210 | (D+L) | Total Man Days: | 25.3
|  |  |  | Design Hours: | 0
| TOTAL INSIDE LABOR | 6991
INSIDE EXPENSE
| MILEAGE | 0 | (L)
| CONSTRUCTION EXPENSE | 0 | (L)
| EQUIPMENT RENTAL EXP. | 800 | (M)
| FREIGHT | 0 | (M)
| PERMITS | 0 | (M) | TOTAL COST
| GEN O/H | 0 | (L)
| FUEL COST | 0 | (L) | Tot Cost/Sq.Ft.: | 0.21
|  |  |  | Tot. Cost/Head : | 180
| TOTAL INSIDE EXPENSE | 800
SUBCONTRACTOR TOTAL
| INSIDE SUBCONTRACTS | 0 | (M)
| UNDERGROUND SUBCONTRACT | 0 | (M)
| TOTAL INSIDE ESTIMATE COST | 12240
|  |  |  | SALES TAX ON MATERIAL | 682.28
INSIDE BID RECAP
| INSIDE COST | 12240
| OVERHEAD (18%) | 2203
| COST WITH OVERHEAD | 14443 |  | Sell Price/sq ft : | 0.29
| PROFIT (17%) | 2455 |  | Sell Price/Hd : | 248.5
| TOTAL BID | 16898 |  | % Gross Profit to Revue: | 27.57%
| BOND PREMIUM COST IF REQUIRED | 640 |  | % Mark Up (Cost to Price) | 38.06%
| MATERIAL SELL PRICE | 8270 |  | LABOR SELL PRICE | 8628

## Material List
68 | 68 | TOTAL SPRINKLERS
|  |  | DISC | DISC
QTY |  | MATERIAL DESCRIPTION (IMPORT) | UNIT PR | TOTAL
UPDATED 8-11 (FERGUSON FIRE)
PIPE
|  | 1" Dyna 40 | 0.95 | 0
|  | 1-1/4" Dyna 40 | 1.34 | 0
|  | 1-1/2" Dyna 40 | 1.65 | 0
|  | 2" Dyna 40 | 2.14 | 0
0
378 |  | 1" XL | 1.24 | 468.72
168 |  | 1-1/4" XL | 1.68 | 282.24
|  | 1-1/2" XL | 1.19 | 0
0 |  | 2" XL | 2.78 | 0
0 |  | 1" Schedule 40 Pipe | 1.25 | 0
|  | 1 1/4" Schedule 40 Pipe | 1.69 | 0
0 |  | 1 1/2" Schedule 40 Pipe | 2.02 | 0
0 |  | 2" Schedule 40 Pipe | 2.72 | 0
0 |  | 2 1/2" Schedule 40 Pipe | 4.09 | 0
|  | 3" Schedule 40 Pipe | 5.29 | 0
0 |  | 4" Schedule 40 Pipe | 7.47 | 0
|  | 6" Schedule 40 Pipe | 13.13 | 0
|  | 8" Schedule 40 Pipe | 19.76 | 0
|  | 10" Schedule 40 Pipe | 0 | 0
|  | 1-1/2" THIN WALL | 1.13 | 0
|  | 2" THIN WALL | 1.53 | 0
|  | 2-1/2" THIN WALL | 1.78 | 0
|  | 3" THIN WALL | 2.32 | 0
|  | 4" THIN WALL | 3.12 | 0
|  | 6" THIN WALL | 7.12 | 0
|  |  | 0 | 0
|  | 8" THIN WALL | 14.72 | 0
|  | 10" THIN WALL | 25.28 | 0
0
|  | 1" Schedule 40 Galvanized | 1.43 | 0
|  | 1 1/4" Schedule 40 Galvanized | 1.93 | 0
|  | 1 1/2" Schedule 40 Galvanized | 2.31 | 0
|  | 2" Schedule 40 Galvanized | 3.11 | 0
|  | 2 1/2" Schedule 40 Galvanized | 4.74 | 0
|  | 3" Schedule 40 Galvanized | 6.2 | 0
|  | 4" Schedule 40 Galvanized | 8.83 | 0
|  | 6" Schedule 40 Galvanized | 15.39 | 0
|  |  | 0 | 0
|  |  | 0 | 0
0
|  | 1 1/2" Galvanized Schedule 10 Pipe | 1.69 | 0
|  | 2 " Galvanized Schedule 10 Pipe | 2.34 | 0
|  | 2 1/2" Galvanized Schedule 10 Pipe | 3.1 | 0
|  | 3" Galvanized Schedule 10 Pipe | 3.88 | 0
|  | 4" Galvanized Schedule 10 Pipe | 4.93 | 0
|  | 6" Galvanized Schedule 10 Pipe | 8.13 | 0
|  | 8" Galvanized Schedule 10 Pipe | 17.42 | 0
|  | 1'x 0'-4" Black Steel Pipe Nipples | 1.64 | 0
|  | 2.5" x 0-4" Black Steel Nipple | 8.89 | 0
|  | UNIT PRO RATE | 25 | 0
Disc. Total |  |  |  | 751
Cost/Head |  |  |  | 11.04
PIPE TOTAL |  |  |  | 751
FITTINGS
|  | 2-1/2" Bolt Nut & Gasket Set | 4.56 | 0
|  | 3" Bolt Nut & Gasket Set | 4.68 | 0
|  | 4" Bolt Nut & Gasket Set | 8.4 | 0
0 |  | 6" Bolt Nut & Gasket Set | 12.97 | 0
|  | 8" Bolt Nut & Gasket Set | 13.41 | 0
|  | 10" Bolt Nut & Gasket Set | 28.28 | 0
0
|  | Drum Drip Tyco DD-1 | 75.21 | 0
|  | Inspectors Test Package | 60 | 0
|  | Auxiliary Drain Package | 65 | 0
68 |  | Thread-Tape per head | 0.36 | 24.48
68 |  | Cutting Oil per head | 0.08 | 5.44
68 |  | Pipe Dope per head | 0.15 | 10.2
0
|  | 1/2" P.O.L. | 1.74 | 0
0 |  | 3/4" P.O.L. | 1.74 | 0
0 |  | 1" P.O.L. | 2.52 | 0
0 |  | 1-1/4" P.O.L. | 3.69 | 0
|  | 1-1/2" P.O.L. | 4.43 | 0
|  | 2" P.O.L. | 5.85 | 0
|  | 2-1/2" P.O.L. | 10.35 | 0
|  | 3" P.O.L. | 19.89 | 0
|  | 4" P.O.L. | 31.93 | 0
0
1 |  | 1 1/2X1 1/4X1 Tee | 7.91 | 7.91 |  | x
30 |  | 1 1/4X1 1/4X1 Tee | 6.07 | 182.1 |  | x
12 |  | 1 1/4x1x1 Tee | 3.44 | 41.28
1 |  | 1 1/2X1 1/2X1 Tee | 7.91 | 7.91 |  | x
0 |  | 3" W.G.N. | 7.81 | 0
0 |  | 4" W.G.N. | 12.22 | 0
|  | 6" W.G.N. | 25.09 | 0
|  | 8" W.G.N. | 31.34 | 0
0
15 |  | 1 inch Threaded Tee | 1.68 | 25.2
0 |  | 2" TFP Grooved CPL Rigid 009 | 5.59 | 0
0 |  | 2-1/2" TFP Grooved CPL Rigid 009 | 4.42 | 0
0 |  | 3" TFP Grooved CPL Rigid 009 | 5.06 | 0
0 |  | 4" TFP Breakaway 744 Flange | 66.82 | 0
|  | 6" TFP Grooved CPL Rigid 005 | 11.74 | 0
|  | 8" TFP Grooved CPL Rigid 005 | 19.59 | 0
|  | 1-1/2" TFP Grooved CPL Rigid (GALV) 009 | 4.09 | 0
|  | 2" TFP Grooved CPL Rigid(GALV) 009 | 4.51 | 0
0 |  | 2-1/2" TFP Grooved CPL Rigid (GALV) 009 | 5.29 | 0
0 |  | 3" TFP Grooved CPL Rigid (GALV) 009 | 6.21 | 0
0 |  | 4" TFP Grooved CPL Rigid (GALV) 009 | 8.56 | 0
|  | 6" TFP Grooved CPL Rigid (GALV) | 14.21 | 0
|  | 8" TFP Grooved CPL Rigid (GALV) | 23.81
|  |  | 0 | 0
|  | 1-1/2" Victaulic Grooved Coupling w/Tri Seal Gasket GALV | 5.41 | 0
|  | 2" TFP Grooved Coupling w/Tri Seal Gasket | 5.85 | 0
|  | 2-1/2" TFP Grooved Coupling w.Tri Seal Garket | 6.91 | 0
|  | 3" TFP Grooved Coupling w/Tri Seal Gasket | 7.52 | 0
|  | 4" TFP Grooved Coupling w/Tri Seal Gasket | 10.52 | 0
|  | 6" TFP Grooved Coupling w/Tri Seal Gasket | 19.71 | 0
|  | 8" TFP Grooved Coupling w/Tri Seal Gasket | 29.76 | 0
|  | 10" TFPl Grooved Coupling w/Tri Seal Gasket |  | 0
|  | TFP Th/Gr Mechanical Tee 2-1/2" x 1-1/2" w/Threaded Outlet | 16.34 | 0
|  | TFP Th/Gr Mechanical Tee 4" x 2-1/2" w/Grooved Outlet | 20.59 | 0
|  | TFP Th/Gr Mechanical Tee 6" X 4" w/ Grooved Outlet | 32.94 | 0
|  | TFP Th/Gr Mechanical Tee 8" X 4" w/Grooved Outlet | 49.35 | 0
|  |  |  | 0 | GALV
0 |  | 1 1/2" Grooved 90 Ell | 4.82 | 0 | 8.75
0 |  | 2" Grooved 90 Ell | 4.03 | 0 | 5.17
0 |  | 2 1/2" Grooved 90 Ell | 5.4 | 0 | 7.24
0 |  | 3" Grooved 90 Ell | 7.11 | 0 | 9.45
0 |  | 4" Grooved 90 Ell | 10.22 | 0 | 14.22
|  | 6" Grooved 90 Ell | 28.51 | 0 | 39.31
|  | 8" Grooved 90 Ell | 55.82 | 0 | 79.57
|  | 2" Grooved Tee | 6.16 | 0 | 7.68
0 |  | 2 1/2" Grooved Tee | 8.19 | 0 | 10.48
0 |  | 3" Grooved Tee | 11.37 | 0 | 14.6
0 |  | 4" Grooved Tee | 17.21 | 0 | 22.54
|  | 6" Grooved Tee | 46.16 | 0 | 60.2
|  | 8" Grooved Tee | 98.11 | 0
|  | 10" FIRE LOCK Grooved Tee | 159.63 | 0
0
|  | 2" X 1.5" TFP Reducing Grooved Coupling | 16.78 | 0 | 20.23
|  | 2-1/2" X 1.5" TFP #716 Reducing Grooved Coupling | 21.66 | 0 | 27.25
|  | 3"X 2"or 2-1/2" TFP #716 Reducing Grooved Coupling | 24.75 | 0 | 31.3
0 |  | 4"X 2",2-1/2"or 3" TFP #716 Reducing Grooved Coupling | 32.84 | 0 | 42.38
|  | 5"X 4" TFPl #716 Reducing Grooved Coupling | 44.15 | 0
|  | 6"X4" TFP #716 Reducing Grooved Coupling | 66.92 | 0 | 84.37
|  | 8"X 6" TFP #716 Reducing Grooved Coupling | 100.14 | 0 | 138.99
0
|  | 1-1/2" X 1/2" or 3/4" TFP | 10.73 | 0
|  | 1-1/2" X 1" Ada-Cap | 10.73 | 0
0 |  | 2" X 3/4 OR 1/2" Ada-Cap | 16.72 | 0
|  | 2" X 1" Ada-Cap | 11.72 | 0
|  | 2-1/2" X 3/4" OR 1/2" Ada-Cap | 11.44 | 0
|  | 2-1/2"X 1" Ada-Cap | 12.87 | 0
0
|  | 2-1/2" STAR Grooved 45 Ell | 3.48 | 0
|  | 3" TFP #501 Grooved 45 Ell | 4.68 | 0
|  | 4" TFP #501 Grooved 45 Ell | 6.91 | 0
|  | 6" TFP #501 Grooved 45 Ell | 19.47 | 0
|  | 8" TFP #501 Grooved 45 Ell | 38.33 | 0
0
0 |  | 2" Grooved Cap | 2.65 | 0 | 3.68
0 |  | 2 1/2" Grooved Cap | 3.09 | 0 | 4.03
|  | 3" Grooved Cap | 3.72 | 0 | 4.89
0 |  | 4" Grooved Cap | 5.59 | 0 | 7.62
|  | 6" Grooved Cap | 12.7 | 0 | 17.59
|  | 8" Grooved Cap | 24.19 | 0 | 33.15
0
|  | 4" Grooved Flange | 48.88 | 0 | 59.6
0 |  | 6" Grooved Flange | 64.36 | 0 | 78.34
|  | 8" Grooved Flange | 80.89 | 0 | 101.21
0
0 |  | 4X2 Red Coup | 54.68 | 0
|  | 3" COMPANION SCR FLG | 23.3 | 0
|  | 4" COMPANION SCR FLG | 31.4 | 0
|  | 6" COMPANION SCR FLG | 50.19 | 0
|  | 8" COMPANION SCR FLG | 77.91 | 0
|  | 10" COMPANION SCR FLG | 86.71 | 0
0
|  | 4" RED COMP FLG | 59.27 | 0
|  | 6" RED COMP FLG | 88.43 | 0
|  | 8" RED COMP FLG | 70.3 | 0
|  | 10" RED COMP FLG | 119.15 | 0
0
|  | 4" FLG ELL | 107.24 | 0
|  | 6" FLG ELL | 167.9 | 0
|  | 8" FLG ELL | 289.42 | 0
|  | 10" FLG ELL | 162.5 | 0
0
|  | 4" FLG TEE | 163.28 | 0
|  | 6" FLG TEE | 236.95 | 0
|  | 8" FLG TEE | 404.81 | 0
|  | 10" FLG TEE | 1039.73 | 0
0
|  | 4" RED FLG TEE | 100.51 | 0
|  | 6" RED FLG TEE | 323.54 | 0
|  | 8" RED FLG TEE | 217.36 | 0
|  | 10" RED FLG TEE | 704.26 | 0
0
|  | 6" FLG CONC RED | 312.81 | 0
|  | 8" FLG CONC RED | 364.41 | 0
|  | 10" FLG CONC RED | 0 | 0
0
|  | 1/2" SCR 90 Ell | 1.17 | 0
|  | 3/4" SCR 90 ELL | 1.23 | 0
|  | BCI |  | 0 | BMI | FITTING
0 |  | 1" SCR ELL | 1.2 | 0 | 1 | ECS
|  | 1-1/4" SCR ELL | 2.32 | 0 | 1.63 | 1.09
|  | 1-1/2" SCR ELL | 3.05 | 0 | 2.15
|  | 2" SCR ELL | 4.92 | 0 | 3.68
|  | 2-1/2" SCR ELL | 7.75 | 0 | 17.65
|  | 3" SCR ELL | 26.68 | 0
|  | 4" SCR ELL | 42.43 | 0
0
1 |  | 2 1/2X1 1/2 Mech Tee | 20.2 | 20.2 | 1.54
10 |  | 2 1/2X1 1/4 Mech Tee | 20.2 | 202 | 3.13
4 |  | 2 1/2X1 Mech Tee | 14.21 | 56.84 | 8.24
|  | 2" RED SCR TEE | 5.21 | 0 | 14.71
|  | 2-1/2" RED SCR TEE | 28.27 | 0 | 36.98
|  |  | 0 | 0
|  | 1" SCR CAP | 1.56 | 0 | 0.77
|  | 1-1/4" SCR CAP | 2.07 | 0 | 1.01
|  | 1-1/2" SCR CAP | 2.81 | 0 | 1.38
|  | 2" SCR CAP | 4.1 | 0 | 1.8
0
0 |  | 1" SCR PLUG | 0.9 | 0 | 0.63
0 |  | 1-1/4" SCR PLUG | 1.44 | 0 | 1
0 |  | 1-1/2" SCR PLUG | 2.04 | 0 | 1.42
0 |  | 2" SCR PLUG | 2.38 | 0 | 1.66
0
45 |  | 1" RED SCR ELL | 1.31 | 58.95 | 1.22
0 |  | 1-1/4" RED SCR ELL | 1.96 | 0 | 4.73
0 |  | 2" SCR ELL | 5.01 | 0 | 3.06
0 |  | 2" RED SCR ELL | 5.01 | 0 | 9.86
0 |  | 2X1 RED SCR ELL | 3.95 | 0 | 20.96
0
71 |  | 1" x 1/2" SCR RED CPL | 1.2 | 85.2 | 1.18
0 |  | 1 x 3/4" SCR RED CPL | 2.71 | 0 | 2.84
0
0 |  | 1" UNION | 4.67 | 0 | 3.26
0 |  | 1-1/4" UNION | 6.7 | 0 | 4.33
0 |  | 1-1/2" UNION | 8.34 | 0 | 5.29
0 |  | 2" UNION | 9.68 | 0 | 7.99
0
0 |  | 1" SCR CPL | 2.43 | 0 | 2.43
0 |  | 1-1/4" SCR CPL | 3.15 | 0 | 2.42
0 |  | 1-1/2" SCR CPL | 4.29 | 0 | 4.29
0 |  | 2" SCR CPL | 6.35 | 0 | 5.88
0
1 |  | WELDING FAB | 471.38 | 471.38
1 |  | THRD/GRV FAB | 269.45 | 269.45
|  | FAB PRO RATE | 8.5 | 0
|  | FITTING PRO RATE | 7.25 | 0
Disc. Total |  |  |  | 728
Cost/Head |  |  |  | 10.71
FABRICATION TOTAL |  |  |  | 741
FITTING TOTAL |  |  |  | 728
740.83
HANGERS
68 |  | 1"-2" Hanger (TBC, ATR x 24, RING) | 3 | 204
0 |  | 2 1/2"- 4" Hanger (TBC, ATR x 24, RING) | 2.74 | 0
|  | 6" Hanger (TBC, ATR x 24, RING) | 4.7 | 0
|  | 8" Hanger (TBC, ATR x 24, RING) | 5 | 0
|  | (add .18/ft. {3/8"} -OR- .32/ft. {1/2"} for longer rod) |  | 0
0
0 |  | 2-1/2"-3" 6' Trapeeze X-Main Hanger #10B-24* | 25.06 | 0
|  | 4"-6" 6' Trapeeze X-Main Hanger #10B-24* | 34.72 | 0
|  | 8" 6' Trapeeze X-Main Hanger #10B-24* | 42.22 | 0
0
|  | 2" Riser Clamp Erico 450 | 6.17 | 0
|  | 2-1/2" Riser Clamp | 4.95 | 0
|  | 3" Riser Clamp | 4.95 | 0
|  | 4" Riser Clamp | 6.93 | 0
|  | 6" Riser Clamp | 12.27 | 0
|  | 8" Riser Clamp | 21.24 | 0
0
0 |  | Pipe Stand* | 40 | 0
0 |  | Concrete Inserts Galvanized | 1.75 | 0
|  | Add for Clevis Rings 2-1/2" to 8" | 1.5 | 0
|  | UNIT PRO RATE | 2.5 | 0
1 |  | FABRICATION COST | 32.64 | 32.64
Cost/Head |  |  |  | 3
HANGER TOTAL |  |  |  | 204
VALVES
|  | 4" Kennedy #3068 Heavy 300# OS&Y's | 672.49 | 0
|  | 6" Kennedy #3068 Heavy 300# OS&Y's | 956.34 | 0
|  | 8" Kennedy #3068 Heavy 300# OS&Y's | 1314.45 | 0
|  | 6" Kennedy #106 Heavy 250# Swing Check Valve | 625.49 | 0
|  | 8" Kennedy #106 Heavy 250# Swing Check Valve | 912.87 | 0
0
|  | 1/4" 3-Way Globe Valve (United Brass) | 9.43 | 0
|  | 1" Globe Valve (United Brass) | 18.13 | 0
1 |  | 2 inch Flow Switch | 79.36 | 79.36
|  | Jockey Pump Package | 318.22 | 0
|  | 4" Standpipe Package/FHV Per Floor | 0 | 0
|  | 6" Standpipe Package/FHV Per Floor | 0 | 0
|  | 2-1/2" Floor Control Valve Assembly Only, w/Drain(No Valve) | 0 | 0
0
|  | 1" OS&Y Valves (United) | 84.24 | 0
|  | 1-1/4" OS&Y Valve (United) | 98.02 | 0
|  | 1-1/2" OS&Y Valve (United) | 125.38 | 0
|  | 2" OS&Y Valve (United) | 164.98 | 0
0
0 |  | 1 1/4 inch Test and Drain | 128.46 | 0
|  | TYCO 6" Grooved Check Valve | 287.62 | 0
|  | TYCO 8" Grooved Check Valve | 505.32 | 0
|  | TYCO 10" Grooved Check Valve | 1306.47 | 0
|  | TYCO 12" Grooved Check Valve | 0 | 0
|  | 1-1/2" Riser Manifold Residential Central | 236.19 | 0
0
0 |  | 2" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 346.73 | 0
|  | 2.5" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 183.15 | 0
|  | 3" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 198 | 0
0 |  | 4" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 207.57 | 0
|  | 6" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 294.86 | 0
|  | 8" BFV-1, Model BV1 BFV W.TS (300 PSI Rated) | 453.14 | 0
0
|  | 2-1/2" Flanged OS&Y Valve (Kennedy # 4068A) | 214.75 | 0
|  | 3" Flanged OS&Y Valve (Kennedy #4068A) | 230.61 | 0
|  | 4" Flanged OS&Y Valve (Kennedy #4068A) | 259.43 | 0
|  | 6" Flanged OS&Y Valve (Kennedy #4068A) | 399.72 | 0
|  | 8" Flanged OS&Y Valve (Kennedy #4068A)) | 656.27 | 0
|  | 10" Flanged OS&Y Valve (Kennedy #4068A) | 1153.03 | 0
|  | 12" Flanged OS&Y Valve (Kennedy #4068A) | 1386.9 | 0
0
|  | 2-1/2" Flanged Check Valve (Kennedy 126A) | 238.48 | 0
|  | 3" Flanged Check Valve (Kennedy #126A) | 262.05 | 0
|  | 4" Flanged Check Valve (Kennedy #126A) | 427.31 | 0
|  | 6" Flanged Check Valve (Kennedy #126A) | 729.76 | 0
|  | 8" Flanged Check Valve (Kennedy #126A) | 1238.75 | 0
|  | 10" Flanged Check Valve (Kennedy #126A) | 1642.86 | 0
|  | 2" Ames 2000B DCA w/Ball Valves | 272.84 | 0
0
|  | 4" Wall PIV (Kennedy F x G or G x G) Complete | 678.51 | 0
|  | 6" Wall PIV (Kennedy F x G or G x G) Complete | 733.26 | 0
|  | 8" Wall PIV (Kennedy F x G or G x G) Complete | 1034.01 | 0
0
|  | 2.5" Ames 2000 w/O&Y's from FERGUSON | 983.95 | 0
|  | 4" Ames 2000 w/O&Y's | 1212.35 | 0
|  | 6" Ames 2000 w/O&Y's | 1893.83 | 0
|  | 8" Ames 2000 w/O&Y's | 3556.79 | 0
|  | 3" Ames 3000 w/O&Y's from FERGUSON | 1353.01 | 0
|  | 4" Ames 3000 w/O&Y's | 1501.24 | 0
|  | 6" Ames 3000 w/O&Y's | 2246.91 | 0
|  | 8" Ames 3000 w/O&Y's | 4079.52 | 0
0
|  | 2.5" Ames Colt 200 w/Gr BFVs from FERGUSON | 961.45 | 0
0 |  | 4" Ames Colt 200 w/GR BFV's | 1197.59 | 0
|  | 6" Ames Colt 200 w/GR BFV's | 1869.88 | 0
|  | 8" Ames Colt 200 w/GR BFV's | 3489.16 | 0
|  | 2.5" Ames Colt 400 RPZw/Gr BFVs | 1400 | 0
|  | 3" Ames Colt 400 RPZw/Gr BFVs | 1453.01 | 0
|  | 4" Ames Colt 400 RPZw/Gr BFVs | 1802.41 | 0
|  | 6" Ames Colt 400 RPZw/Gr BFVs | 2900 | 0
TOTAL VALVES |  |  |  | 79
MISCELLANEOUS BRASS
|  | Central 4" x 2-1/2" x 2-1/2" Single Clapper Straight w/Plate C&C RB | 80.93 | 0
|  | Central 4" x 2-1/2" x 2-1/2" Double Clapper Straight w/Plate C&C RB | 119.35 | 0
0 |  | Potter Roemer #5021 Flush Chrome Complete FDC | 428.93 | 0
0
0 |  | KNOX PLUGS | 166 | 0
|  | Potter Roemer #5541 6" x 4-Way FDC Complete PC | 1242.89 | 0
0
|  | Guardian, 1-1/2" FHRack RB, 100lf Hose/Plastic Nozzle | 183.55 | 0
|  | CROKER Roof Manifold, 6" x 3-Way W/VALVES | 444 | 0
0
|  | Potter Roemer #4005 2-1/2" PRV w/MSA (Floor Control Valve) | 718.2 | 0
|  | 2-1/2" Press Reducing FDV with red, cap and chain | 267.75 | 0
|  | Fire Hose Valve Cabinet | 78.75 | 0
0
|  | 2.5" Rough Brass Fire Department Valve W/Red, C & C | 106.27 | 0
0 |  | 1" or 1/4" AGF Test and Drain | 102.84 | 0
0 |  | 1/2" Ball Drip & Street Ell | 11.15 | 0
F.D.C. TOTAL |  |  |  | 0
DEVICES
|  | 1/2" Standard Response, Chrome Pendent TY-B W/PLATE | 4.69 | 0
15 |  | 1/2" Standard Response, Brass Upright TY-3151 | 4.5 | 67.5
0
205 |  | 1/2" Quick Response, Chrome Recessed w/Ch or Wht Plt TY-3231 | 9.3 | 1906.5
|  | 1/2" Quick response, Brass Upright TY-FRB | 4.69 | 0
0
|  | 3/4" Standard Response, Brass Upright, TY-B | 4.27 | 0
|  | 3/4" Standard Response, Chrome Pendent TY-B w/plt | 5.66 | 0
0
|  | 3/4" Quick Response, Brass Upright, TY-FRB | 8.32 | 0
|  | 3/4" Quick Response, Chrome Recessed w/ Chr or Wht Plt, TY-FRB | 9.35 | 0
0
|  | 1/2" Quick Response, Ch Recessed w/Ch or Wht Plt TY-FRL | 12.21 | 0
|  | 1/2" Quick response, Brass Upright TY-FRL | 10.35 | 0
0
|  | 1/2" Quick Respone, Ch Recessed w/Ch or Wht Plt GFR | 10.36 | 0
|  | 1/2" Quick response, Brass Upright GFR | 8.7 | 0
0
|  | 1/2" Q.R., Brass HSW, TY-FRL | 13.23 | 0
0
0 |  | 1/2" Concealer, SR, w/ Ch, Br, or Wht Plt ROYAL FLUSH II | 16.79 | 0
|  | 1/2" Concealer, QR, w/ Ch, Br, or Wht Plt ROYAL FLUSH II FR | 13.43 | 0
|  | 1/2" Concealer, Ext Cov QR, w/ Ch, Br, or Wht Plt Royal Flush II, K=5.62 | 14.7 | 0
|  | 3/4" Concealer, Ext Cov, QR, w/ Ch, Br, or Wht Plt ELOC, K=11.2 | 22.46 | 0
0
|  | EC 11, Extended Coverage, Brass Upright, K=11 (QR-LH, SR-OH) | 14.23 | 0
|  | EC 11, Extended Coverage, Rec Pend w/Ch or Wht Plt, K=11 (QR-LH, SR-OH) | 14.96 | 0
0
|  | EC 14, Extended Coverage, Brass Pendent, K=14 (QR-LH, SR-OH) | 15.66 | 0
|  | EC 14, Extended Coverage, Rec Pend w/Ch or Wht Plt, K=14 (QR-LH, SR-OH) | 15.8 | 0
0
|  | 1/2" QR, Brass HSW, TY-FRB | 8.71 | 0
|  | 1/2", QR, Chome Recessed HSW, TY-FRB | 9.03 | 0
|  | 3/4" QR, Extended Coverage, CHROME ELO SW-20 | 44.25 | 0
|  | 3/4", QR, Extended Coverage Chome ELO SW-24 | 44.25 | 0
0
0 |  | RESIDENTIAL Ch or Wht Pend, K=4.9 and 4.2 w/Chr or Wht Plt LF II | 6.98 | 0
|  | RESIDENTIAL Ch or Wht SW, K=5.6 w/Chr or Wht Plt LF II | 8.2 | 0
|  |  | 0 | 0
|  | RESIDENTIAL Concealed with Cover Plate, K = 4.9 | 11.27 | 0
|  | RESIDENTIAL Recessed with Cover Plate, K = 4.2 | 11.27 | 0
0
|  | ESFR-14 | 8.42 | 0
|  | ESFR-17 Pendent | 11.22 | 0
|  | ESFR-17 Upright | 16.93 | 0
|  | ESFR K25 | 27.89 | 0
|  |  | 0 | 0
|  | K17 Control Mode Brass Upright | 23.1 | 0
|  | K17-231 Brass Upright | 13.19 | 0
|  | ELO 231B Upright, K=11.2 | 8.38 | 0
|  |  | 0 | 0
|  | ATTIC SPRKS | 65.23 | 0
0
|  | 1/2" Intermediate Level, Standard Response, 1/2", w/Shield (Add $1.48 for Pend) | 5.87 | 0
|  | 1/2" Intermediate Level, Quick Response, 1/2", w/Shield (Add $1.48 for Pend) | 9.01 | 0
|  | 3/4" Intermediate Level, Standard Response, 1/2", w/Shield (Add $1.48 for Pend) | 6.6 | 0
|  | 3/4" Intermediate Level, Quick Response, 1/2", w/Shield (Add $1.48 for Pend) | 9.73 | 0
0
|  | Dry, Quick Response, Chrome Pendent w/Plt 12" Long | 55.95 | 0
|  | Dry, Quick response, 12" long, HSW | 58.56 | 0
0
|  | TFP, Quick Response Institutional Pendent w/Plt - No Retaining flange | 25.7 | ADD 10.80 FOR FLANGE
|  | TFP, Quick Response Institutional Horz SW w/Plt - No Retaining flange | 32.3 | 0
0
|  | WINDOW SPRINKLERS | 119.02 | 0
0
0 |  | 2" Riser Manifold Commercial Central (GxG) | 263.65 | 0
|  | 2 1/2" Riser Manifold Commercial Central (GxG) | 294.27 | 0
|  | 4" Riser Manifold Commercial Central (GxG) | 378.05 | 0
0
|  | 2-1/2"AL VA (VIC 751 PRE-TRIMMED) | 1213.3 | 0
0 |  | 4"AL VA (VIC 751 PRE-TRIMMED) | 923 | 0
|  | 6"AL VA (VIC 751 PRE-TRIMMED) | 1020.86 | 0
|  | 8"AL VA (VIC 751 PRE-TRIMMED) | 1149.88 | 0
0 |  | Central Model "F-1" WMG W/DRAIN TRIM | 370.89 | 0
0
|  | 2 1/2" TFP DPV-1 Dry Valve PRE-TRIMMED (G-G) | 1296.09 | 0
|  | 3" TFP DPV-1 Dry Valve PRE-TRIMMED (G-G) | 1398.99 | 0
|  | 4" TFP DPV-1 Dry Valve (G-G) | 1496.86 | 0
|  | 6" TFP DPV-1 Dry Valve (G-G) | 1791.84 | 0
0
|  | TFP Model ACC! Accelerator and Trim | 752.53 | 0
0
|  | 2-1/2",3",4" #90 SHOTGUN CH/VA W/TRIM | 312.7 | 0
|  | 6" #590 Shotgun Check Valve/Trim | 473.09 | 0
|  | 8" #590 Shotgun Check Valve/Trim | 754.31 | 0
0
|  | 10" Electric Bell and Back Box | 42.1 | 0
|  | Potter PS10-2A DPDT Pressure Switch | 77.24 | 0
|  | Potter PS40 2-SPDT HI-LOW Pressure Switch | 77.24 | 0
|  | Potter OSYSU-2 SPDT Tamper Switch | 55.39 | 0
0 |  | Potter VSRF 2"-8" (2)SPDT 10/40 Flow Switch | 82 | 0
0
|  | Water Guage | 10.8 | 0
|  | Air Guage | 10.8 | 0
DEVICE TOTAL |  |  |  | 1974
MISCELLANEOUS
|  | Relief Valve Packages | 66 | 0
0 |  | 6/12 Spare Sprinkler Head Box | 8.79 | 0
0 |  | ESFR/Universal/ELO/Standard wrenches | 75 | 0
|  | Anti-Freeze Glycol Pure Grade (5 Gallons) | 108.85 | 0
|  | 2" Anti-Freeze Loop w/expansion chamber (listed) BFP not incl. | 1603.16 | 0
|  | 2-1/2" Anti-Freeze Loop w/expansion chamber (listed) BFP not incl. | 1540.76 | 0
|  | Head Guards | 1.38 | 0
0
0 |  | Sign Package | 25 | 0
0 |  | FLEX HEADS (36") | 31.22 | 0
|  | GATEWAY SIDEWINDER (48") | 26.56 | 0
|  | Central #401 Chrome 2-PC 1/2"- 3/4" | 0.5 | 0
|  | 8" Electric Bell (Specify Voltage) with weatherproof back-box | 27.6 | 0
MISC TOTAL |  |  |  | 0
AIR COMPRESSORS
|  | General Oil-less (110 Gal.Capacity) Air Comp. 1/16HP Riser Mount | 532.82 | 0
|  | General Oil-Less ( 215 Gal.Capacity) Air Comp.1/2HP Riser Mount | 650.43 | 0
|  | General Oil-Less ( 335 Gal.Capacity) Air Comp. 1HP Riser Mounted | 833.98 | 0
|  | General Oil-Less (800 Gal.Capacity) Air Comp. 3HP Tank Mounted | 1244.43 | 0
|  | Dry Air Packs | 267.33 | 0
0
|  | TFP Air Maintenance Device AMD-1 ( Used with tank mount compressr) | 285.1 | 0
|  | TFP Air Maintenance Device AMD-2 (Used with base mount compressor) | 285.1 | 0
|  | Air Compressor Pipe/Fittings | 75 | 0
AIR COMP TOTAL |  |  |  | 0
CPVC BLAZEMASTER MATERIALS | [5 empty] | CPVC ESC
|  | 3/4" CPVC PIPE (15' LENGTHS) | 0.39 | 0 |  | 2008-09-08
0 |  | 1" CPVC PIPE | 0.58 | 0 |  | 1.07
0 |  | 1-1/4" CPVC PIPE | 0.92 | 0
0 |  | 1-1/2" CPVC PIPE | 1.31 | 0
|  | 2" CPVC PIPE | 2.02 | 0
|  | 2-1/2" CPVC PIPE | 3.54 | 0
|  | 3" CPVC PIPE | 5.68 | 0
|  | 3/4" CPVC CAP | 0.33 | 0
|  | 1" CPVC CAP | 0.48 | 0
|  | 1-1/4" CPVC CAP | 0.86 | 0
|  | 1-1/2" CPVC CAP | 1.19 | 0
|  | 2" CPVC CAP | 1.81 | 0
|  | 2-1/2" CPVC CAP | 2.57 | 0
|  | 3" CPVC CAP | 3.9 | 0
|  | 3/4" CPVC COUPLING | 0.52 | 0
0 |  | 1" CPVC COUPLING | 0.58 | 0
0 |  | 1-1/4" CPVC COUPLING | 1.08 | 0
0 |  | 1-1/2" CPVC COUPLING | 1.71 | 0
|  | 2" CPVC COUPLING | 2.05 | 0
|  | 2-1/2" CPVC COUPLING | 3.66 | 0
|  | 3" CPVC COUPLING | 4.57 | 0
|  | 1" X 3/4" CPVC RED BUSHING | 0.49 | 0
|  | 1-1/4" X 3/4" CPVC RED BUSHING | 0.73 | 0
0 |  | 1-1/4" X 1" CPVC RED BUSHING | 0.73 | 0
|  | 1-1/2" X 3/4" CPVC RED BUSHING | 0.77 | 0
|  | 1-1/2" X 1" CPVC RED BUSHING | 0.77 | 0
|  | 1-1/2" X 1-1/4" CPVC RED BUSHING | 0.77 | 0
|  | 2" X 1-1/4" CPVC RED BUSHING | 1.16 | 0
|  | 2" X 1-1/2" CPVC RED BUSHING | 1.16 | 0
|  | 2-1/2" X 1-1/4" CPVC RED BUSHING | 2.02 | 0
|  | 2-1/2" X 1-1/2" CPVC RED BUSHING | 2.02 | 0
|  | 2-1/2" X 2" CPVC RED BUSHING | 2.02 | 0
|  | 3" X 2" CPVC RED BUSHING | 3.25 | 0
|  | 3" X 2-1/2" CPVC RED BUSHING | 3.05 | 0
|  | SPRK HEAD ELL 3/4" X 1/2" CPVC SL X FIPT 90 ELL | 1.42 | 0
|  | SPRK HEAD ELL 1" X .1/2" CPVC SL X FIPT 90 ELL | 1.9 | 0
|  | 3/4" X 3/4" X 1/2" SL X FIPT TEE | 2.01 | 0
|  | 1" X 3/4" X 1/2" SL X FIPT TEE | 2.68 | 0
|  | 1" X 1" X 1/2" SL X FIPT TEE | 2.26 | 0
|  | 1" X 1" x 1" SL X FIPT TEE | 5.01 | 0
|  | 1-1/2" X 1-1/4"X 1/2" SL X FIPT TEE | 6.14 | 0
|  | 1-1/2" X 1-1/2" X 1/2" SL X FIPT TEE | 4.61 | 0
|  | 2" X 1-1/2" X 1/2" SL X FIPT TEE | 6.72 | 0
|  | 3/4" FEMALE SL X TH FEMALE ADAPTER | 2.44 | 0
0 |  | 1" FEMALE SL X TH FEMALE ADAPTER | 4.32 | 0
|  | 1-1/4" FEMALE SL X TH FEMALE ADAPTER | 7.43 | 0
|  | 1-1/2" FEMALE SL X TH FEMALE ADAPTER | 10.38 | 0
|  | 2" FEMALE SL X TH FEMALE ADAPTER | 14.08 | 0
|  | 1" TO 3/4" CPVC NO BLOCK HANGERS/screws | 0.41 | 0
|  | 3/4" TO 2" DOUBLE STRAP HANGERS/screws | 0.31 | 0
|  | CPVC HEAD-SET BRACKET/screws | 0.85 | 0
|  | DAUBERS | 0.5 | 0
|  | 1-1/4" GROOVED CPL. ADAPT. | 10.11 | 0
|  | 1-1/2" GROOVED CPL. ADAPT. | 10.92 | 0
0 |  | 2" GROOVED CPL. ADAPT. | 12.84 | 0
|  | 2-1/2" GROOVED CPL. ADAPT. | 15.11 | 0
|  | 3" GROOVED CPLG. ADPT. | 4.76 | 0
|  | 3/4" CPVC 90 ELL SLXSL | 0.51 | 0
0 |  | 1" CPVC 90 ELL SLXSL | 1.13 | 0
0 |  | 1-1/4" CPVC 90 ELL SLXSL | 1.46 | 0
0 |  | 1-1/2" CPVC 90 ELL SLXSL | 2.06 | 0
|  | 2" CPVC 90 ELL SLXSL | 2.26 | 0
|  | 2-1/2" CPVC 90 ELL SLXSL | 6.05 | 0
|  | 3" CPVC 90 ELL SLXSL | 8.25 | 0
|  | 3/4" CPVC TEE SLXSLXSL | 0.72 | 0
|  | 1" CPVC TEE SLXLSXSL | 1.45 | 0
|  | 1-1/4" CPVC TEE SLXSLXSL | 2.23 | 0
0 |  | 1-1/2" CPVC TEE SLXSLXSL | 3.28 | 0
0 |  | 2" CPVC TEE SLXSLXSL | 5.21 | 0
|  | 2-1/2" CPVC TEE SLXSLXSL | 9.3 | 0
|  | 3" CPVC TEE SLXLSXSL | 10.95 | 0
|  | 1"X 1"X 3/4" CPVC RED TEE SLXSLXSL | 1.48 | 0
0 |  | 1-1/4"X1-1/4"X3/4"OR 1"CPVC RED TEE | 2.74 | 0
|  | 1-1/2"X1-1/2X3/4"OR 1" CPVC RED TEE | 3.31 | 0
|  | 2"X2"X3/4" OR 1" CPVC RED TEE | 5.06 | 0
|  | 2"X2"X1-1/4" OR 1-1/2" CPVC RED TEE | 5.25 | 0
|  | 2-1/2"X2-1/2" X 1" or 1-1/4" OR 1-1/2" OR 2"CPVC RED TEE | 7.22 | 0
|  | 3"X3"X 1-1/4" OR 1-1/2" OR 2" OR 2-1/2" CPVC RED TEE | 8.34 | 0
|  | 3/4" CPVC CROSS SLXSLXSLXSL | 1.3 | 0
|  | 1" CPVC CROSS SLXSLXSLXSL | 1.66 | 0
|  | 1-1/4" CPVC CROSS SLXSLXSLXSL | 2.27 | 0
|  | 1-1/2" CPVC CROSS SLXSLXSLXSL | 3.02 | 0
|  | 2" CPVC CROSS SLXSLXSLXSL | 4.95 | 0
|  | 1"X1"X3/4"X3/4" CPVC RED CROSS | 1.85 | 0
|  | 3/4" X1/2" SL X FIPT HEAD ADPT. | 1.42 | 0
|  | 1" X1/2" SL X FIPT HEAD ADPT. | 1.9 | 0
|  | Back to Back Tee .5" x.5" x 1" FIPT X FIPT X SL | 7.9
|  | Back to Back Cross .5" x.5" x 1" x 1" FIPT X FIPT X SL X SL | 7.87
|  | CSC ONE STEP CEMENT PINT | 8.7 | 0
0 |  | CSC ONE STEP CEMENT QUART | 15.97 | 0
CPVC TOTAL |  |  |  | 0
DELUGE
|  | 2 " DELUGE VA. (Choose Actuation trim for Deluge or Pre-Action Trim)** | 621.75 | 0
|  | 3" DELUGE VA. (Choose Actuation trim for Deluge or Pre-Action Trim)** | 675.75 | 0
|  | 4" DV-5 DELUGE VA. (Choose Actuation trim for Deluge or Pre-Action Trim)** | 1164 | 0
|  | 6" DV-5 DELUGE VA. (Choose Actuation trim for Deluge or Pre-Action Trim)** | 1419 | 0
|  | ** - Add Riser Check for Pre Action |  | 0
|  | PA Trim for 1 1/2" DV5 Valves Single Interlock Elec /Elect (Includes Solenoid) | 1485 | 0
|  | PA Trim for 2 1/2" DV5 Valves Single Interlock Elec /Elect (Iincludes Solenoid) | 1525.68 | 0
|  | PA Trim for 4-6" DV5 Valves Single Interlock Elec /Elect (Include Solenoid) | 1606.18 | 0
0
|  | PA Trim for 1 1/2" DV5 Valves Double Interlock Elec /Elect (Includes Solenoid) | 1417.3 | 0
|  | PA Trim for 2 1/2" DV5 Valves Double Interlock Elec /Elect (Includes Solenoid) | 1444.3 | 0
|  | PA Trim for 4-6" DV5 Valves Double Interlock Elec /Elect (Includes Solenoid) | 1525.68 | 0
0
|  | Refer to Price Book for Open Head Deluge Trim |  | 0
0
|  | 2 1/2" Double Interlock PREPAK , 1/3 Horse Compressor, Elec/Elec | 15567.5 | 0
|  | 4" Double Interlock PREPAK, 1/2 Horse Compressor, Elec/Elec | 18189.5 | 0
|  | 6" Double Interlock PREPAK, 1 Horse Compressor, Elec/Elec | 20720.5 | 0
DELUGE TOTAL |  |  |  | 0

## Estimate Information Worksheet
SHOP LABOR : | 0
Drop Shipments and Misc Pick ----- | 0
# MH @ $30.00/hr ---------------- | 0
(Rate Includes Burden)
CONSTRUCTION LABOR | QUANTITY | M.H. EACH | TOT. M.H.
Travel Time (Estimator Enter Amount) |  |  | 0
Unloading | 68 | 0.03 | 2
Distributing | 68 | 0.06 | 4.1
Stack Riser/Floor Control Valves | 0 | 4 | 0
Trim Riser Check | 0 | 2.5 | 0
Trim Alarm Valve | 0 | 3.5 | 0
Trim Dry Valve | 0 | 4.5 | 0
Backflow Preventor | 0 | 6 | 0
Air Compressor and Piping | 0 | 3.5 | 0
Accelerator | 0 | 4 | 0
Trim Deluge Valve | 0 | 16 | 0
Fire Dept. Conn. | 0 | 3 | 0
Water Motor Alarm | 0 | 3.5 | 0
Fire Hose Valves | 0 | 1 | 0
Fire Hose Racks | 0 | 6 | 0
Valve Cabinets | 0 | 8 | 0
Roof Manifolds | 0 | 7.5 | 0
2.5" & 3" Cross & Bulk Mains | 42 | 0.1 | 4.2
4" Cross & Bulk Mains | 0 | 0.15 | 0
6" Cross & Bulk Mains | 0 | 0.24 | 0
8" Cross & Bulk Mains | 0 | 0.26 | 0
Line/Main Hgrs Other than Trapeze | 65 | 0.2 | 13
Angle Headers | 0 | 0.25 | 0
Upright Sprinklers Warehouse | 0 | 0.3 | 0
Upright Sprinklers other than Warehouse | 15 | 0.5 | 7.5
Standard Coverage Pendents | 205 | 0.75 | 153.8
Standard Coverage Concealers | 0 | 1 | 0
Extended Coverage Uprights | 0 | 0.55 | 0
Extended Coverage Pendents | 0 | 1 | 0
Dry Pendents | 0 | 0.75 | 0
Exposed Sidewalls | 0 | 0.55 | 0
Concealed Sidewalls | 0 | 0.6 | 0
Institutional Heads | 0 | 1.5 | 0
Residential Heads | 0 | 0.65 | 0
In Rack Sprinklers | 0 | 0.75 | 0
Install Flexible Drops | 0 | 0.13 | 0
Cut Drops/Install Plates | 52 | 0.3 | 15.6
Cut Drops/Center In Tile |  | 0.75 | 0
Hydro Test and Standpipe Testing | 0 | 16 | 0
Install Sleeves/Fire Caulk |  |  | 0
Cutting & Patching |  |  | 0
Fire Pump (Pipe & Test) |  | 96 | 0
Demolition & Hauling |  |  | 0
Identification |  |  | 0
Flow & Tamper Switches | 0 | 1.5 | 0
Punch List & Clean Up | 68 | 0.02 | 1.4
PROJECT MANAGEMENT
TOTAL MAN HOURS | 201.6 |  | 2.96 | mhrs/hd
Or Enter Total Man Hours | 0 |  | 0 | mhrs/hd
Labor Rate (CONTRACT SALES) ---- | 25
TOTAL CONSTRUCTION LABOR : | 5040
DESIGN LABOR : | 0
30% Of Construction | 0 |  | 0 | mhrs/hd
OR Enter Amount | 0 |  | 0 | mhrs/hd
SPECIAL ITEMS: | 0
Fire Pump/Surge Tank | 0
Sleeve & Fire Caulk | 0
Special Item | 0
Pipe Identification/Valve Tags/Charts | 0
FREIGHT/DRAYAGE : | 0
0
DESIGN EXPENSE : | 0 |  | Survey, Meetings, Mileage, Plans |  | 1 | 100 | 1 | 50 | 1 | 50
| 0 |  |  |  | 11 | 150 | 21 | 75 | 101 | 100
SUBSISTENCE/MILEAGE : |  |  |  |  | 26 | 200 | 51 | 100 | 200 | 150
Subsistence | 0 |  | 0 | Man Days | 201 | 200 | 101 | 200 | 300 | 200
Fuel Costs | 0 |  | 0 | Crew Days | 201 | 0.5 | 201 | 50 | 400 | 250
Special construction expenses | [8 empty] | 500 | 300
Mileage (Fitter Travel to Job) | [5 empty] | 200 |  | 100 | 600 | 350
[9 empty] | 700 | 400
EQUIPMENT RENTAL EXPENSE : | 800 | [7 empty] | 800 | 450
Lift Rental/Scaffolding/Planking | 800 |  | Revise on a per job basis. | [5 empty] | 900 | 500
Hoisting/Crane | 0
Small Tools | 0
SUB-CONTRACT ITEMS : | 0
Plan Review | 0
Project Clean-up | 0
Alarm/Detection System
Core Drilling | 0
Insulation/Heat Tracing | 0
Professional Engineering | 0
City Fees/Permits: | 0
Five Foot Outside/Und Subcontract: | 0
USE TAX RATE : | 8%
(Use tax applied to material sub-total,
fire pump/special items, equip. rental)
INSURANCE, TAXES : | 24%

## Macros
Macro | Command
Ctrl A | Goto Air Comp.
Ctrl B | Goto Misc. Brass
Ctrl C | Goto CPVC Blazemaster
Ctrl D | Goto Devices
Ctrl F | Goto Fittings
Ctrl H | Goto Hangers
Ctrl L | Goto Deluge
Ctrl M | Goto Misc
Ctrl P | Print all pages
Ctrl Q | Query
Ctrl T | Goto Tax
Ctrl U | Unquery
Ctrl V | Goto Valves