Steve Floor,

Underground is in the purview of Division 33 11 13.23 Plastic Public Water Utility Distribution Piping

And: Division 33 11 19 Fire Suppression Utility Water Distribution Piping, and Div-31/33 Trench & Backfill to supply underground utility water to sprinkler riser.

Not our area. We are Div-21

Suggested parts with corresponding pricing:

* Parts below are suggested as may be required.
* No design is implied
* No flow tests implied
* Sales tax not included

This document must in no way be interpreted as a design.

|  |  |
| --- | --- |
|  |  |
| **Elbow****Approx. two required @ $55 ea** |  |
|  | **Wedge-Action Joint Restraint****Approx. $110 ea** |
| **Joint-Restraint****Approx. 6 required at approx. $399 ea** |  |
| **C900 Joint** |  |

|  |  |
| --- | --- |
| Break-away flangeTwo required @ approx. $266 ea |  |
|  | Free Standing FDCTwo *suggested @ approx. 2,667.00 each.* |
| C900 SDR 18 Pipe 4”$375.00 per 20 ft length8 to 9 lengths suggested. |  |
| Allow for miscellaneous items 9% | Pipe-Cement, pipe-wrap, Concrete and Bollards etc.  |
|  |