SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.

SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.

SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.

SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.

SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.

SPRINKLERS CONTAINED IN THIS CABINET

| Sprinkler ID# (SIN) | Description | Kfactor | Temperature Rating | Quantity in this box |
| --- | --- | --- | --- | --- |
| TYCO TY3131 | QR Upright BRASS | K - 5.6 | 175 | 2 |
| TYCO TY3231 | QR Pendent WHITE | K - 5.6 | 175 | 2 |
| TYCO TY3531 | QR Pendent RFII CONCEALED |  | 155 | 4 |
| TYCO TY3231 | QR Pendent BLACK | K - 5.6 | 175 | 4 |
| TYCO TY5237 | QR Pendent EC11 EXT COVERAGE | K - 11.2 | 175 | 4 |

Spare cover plates are also to be included, refer to specs for quantity of cover plates.