YOU are receiving this because your site at: 6973 S 300 W. Midvale (AKA Unit B) Fire Riser valve stack & Fire alarm devices are being monitored by us.

YOU are on the ‘Party List’ for Stewarts Lawn Care Alarm callout.

In regard to CMS calling those on the party list:

If you have folks on your Party List, they must be prepared to answer that call.

- Please instruct those who are on your Party List on the following points:

  - That they MUST allow/accept: 1 773 725-0222 on their phone.

    - It is from Emergency 24 Central Monitoring Service (AKA     E24 CMS)

  - Party List members must know the alarm account number

  - Party List members must know the password/s

    - You can have different passwords for various options.

  - Party List members must answer the call from 773-725-0222.

    - The operator has already sent the Fire Department to your site, before calling 'you'

    - The operator is then following your instructions when you signed up, to call those listed on your Party List.

    - If the Operator cannot get anyone on the list, they notify Fire Suppression Services, and mark your number for deletion.

    - We carry out a follow up, the next business day.

    - If you do not answer the follow up, you are confirmed as a ‘marked for deletion’.

- Party List members must know the alarm account number:

  - YOUR ACCOUNT Number is:  S12318  for the 6973 S 300 W. Midvale site.

- .... and they must know the passwords

  - Ask your supervisor for your password.

Points to Note:

Alarm technicians on the other hand need to know:

- The account number and the password to place in test,

  - (Our Technicians are issued with our master password. Do not give them your password).

And …

- They need to know the Receivers.

More often I am called, or the CMS is called, to place the FACP in test, for inspections, and ...  if the FACP is not operational for any reason, local Fire Marshal needs to know because Fire Watch is required.

If you need more information, I can give it to one who can answer the password question correctly. I can also make changes as necessary.

And ..  I suggest that you advise us of your open & close times.

Legend:

| CMS = Central Monitoring Station. | E24 = Emergency24 |
| --- | --- |
| Napco =Starlink | C24 = Connect24 |
| FACP = Fire Alarm Control Panel |  |
| EACP = Evacuation Control Panel/with Voice Evacuation |  |
| AHJ = Authority Having Jurisdiction. (Fire Marshall, Building Inspector etc.) |  |

|  |  |  | Network Operations Centre |
| --- | --- | --- | --- |
| Your alarm Panel | Your Cell Dialer | Verizon or AT&T Cell network | NOC |

Via IP   or        Dial Number, to a Line Card

Emergency 24 Operator AKA E24 773-725-0222

Central Monitoring Station. AKA CMS

| IF ALARM | IF TROUBLE |
| --- | --- |

NOTIFY

| - FIRE DEPARTMENT-POLICE-EMS - PARTY LIST - FIRE SUPPRESSION SERVICES LOG |  | - PARTY LIST - FIRE SUPPRESSION SERVICES LOG |
| --- | --- | --- |

And we may then call your Party List

Fire Suppression Services inc.

Fire Alarm Company (801) 277-6464