To:

Mr Excavator person

An Excavating co.

### West #### South

City, UT 84???

Phone:(801) ###-###

Request for Bid

Fire Suppression Services Incorporated invites proposals for the installation of underground pipe-work from the Public Utility water main for the supply of water for a fire suppressing sprinkler system at the property at address. The Tenant in a larger building.

Location

address 
link

| Requirements A larger six-inch main is required, in case owner decides to tie in the rest of building. Tenant is: “Enable Utah” - Underground - Design, Submit & Permit the connection from City water supply to building. - Removal & restoration of: - curb & channeling, - Tarmac & - internal concrete associated with this supply line. - Included is installation of Private Service Main with gate-valve shutoff. - Co-ordinate with the water authorities and other tenants of the building where appropriate. |  |
| --- | --- |

Notes:

From tie-in to the 90 bend into the building is roughly 30 feet.

We will provide drawings from our PE; however you will need to provide pricing for permits as well as your work.

Sub-Contractor will bring the underground piping into the building, and as such, will need to provide the thrust blocks and flange.

Pricing to include clean-up and the return of the property to its original/improved clean condition, with all waste and surplus materials removed from the site.

Concrete dust levels are to be minimized so as not to affect the tenant, and removed from the site.

Bidders should note that all bids should be accompanied by background materials and references, without exception.

Bidder must bid on complete job and

- Include in scope the level of work to be performed,

- Any additional improvements/requirements that bidder deems necessary for the job or that may result in cost savings and valued engineering.

- The team of people who will execute the work, with a description of the experience and skills of each person.

- The name of the person in your firm who would be the official contact person for any contractual relationship.

- At least two comparable previous projects in which the bidder has engaged, with names and telephone numbers of contacts with whom the bidder’s previous performance can be discussed.

- A management or time frame plan for the scope of work.

- Proof of Insurance and Bonding

- Supply detailed as-built shop drawings upon completion

If required, the Contractor shall provide drawings and calculations, stamped by a Utah registered engineer, which may be submitted to the required Utah State agencies for permits, where necessary. All engineering drawings must be reviewed by our PE prior to the start of complete engineering shop drawings. Shop drawings and "As Built" drawings will be a final deliverable in both printed and electronic formats.

You, the subcontractor, are solely responsible to apply, pay for and obtain all permits required for this project including but not limited to: Building and Trade permits from the applicable State agency for hauling equipment and any and all other City, State and Federal permits required for the execution of this contract. Responsibility includes obtaining engineering drawings by a professional engineer licensed in Utah State, which may be required by applicable authorities having jurisdiction.

In addition to shop drawings the Contractor is responsible for supplying fabrication documentation necessary for the permitting authorities.

Guarantee and Service Contract

The successful bidder will be required to guarantee that all work shall remain free of defects for one (1) full year after the property sprinkler system permitting.

Insurance

Insurance requirements are specified in the Sample Contract Template provided as part of the RFP materials.

Bonding [NOT applicable]

The successful bidder may need to furnish bonds covering faithful performance of the Contract and

payment of obligations arising there under as stipulated in this Request for Proposals or specially

required in the final Contract Documents on the execution of the Contract.

Bidders should assume the bonding amount to be equal to their bid.

The Form for Bid asks for the cost of establishing that Bond. Bonding costs should be itemized on the

Bid Sheets.

Site Pictures:

## Request for Insurance Certificate

## To Vendor:

Name/Address:  vendor name						Date: 201Y-mm-dd

## Attention:

Insurance Agent

If we do not have a current Insurance Certificate on file, please provide the Certificate/s for the indicated coverage’s.

## Comprehensive General Liability

- Including:

  - Owned & non-owned automobiles.		$1,000,000.00

  - Employer liability &

  - Contractual liability				$1,000.000.00

- Minimum per person per occurrence …		$1,000,000.00

- Minimum for Property Damage …			$1,000,000.00

## Workers Compensation

- Employers Liability					$   300,000.00

## Additional Requirements

- Policy cancellation only after 10 (ten) days prior written

- We prefer that an Acord 25 (2010/05) form is used. If not possible, please delete or “x” out the Cancellation box language that states: “Endeavour to …”  and  “but failure to do so shall impose no obligation or liability of any kind upon the insurer, its agents or representatives.”

- The property job location(s) must be written on the certificate.

- “Additional Insured Endorsement” (Form # CG2011 11/85. Or equivalent) including the following:

  - Fire Suppression Services Incorporated and Assigns.

## Certificate Holder

Fire Suppression Services Incorporated

3802 South 2300 East

Millcreek. UT 84109-3421

## Discussion

Please address this request promptly and email or mail the certificates to Arun (Mr) ( Compliance Division Fire Suppression Services Inc).

eMail:	arunFSS@live.com

Phone (801) 277-6464